## Information
Information
Skriptversion
Användare
Datum Tid
Minitab Macro
CSV INFO
CSV
LSP
Antal tester
Dublett Sample ID
Dublett Cartridge S/N
Använda INF/GX
Bag Numbers Tested Using Infinity:
HEADER INFO
Worksheet
Part No.
Batch No(s)
Cartridge No. (LSP)
Document Number
Rev
Effective
Seal Test POS
Document Number
Rev
Effective
Seal Test NEG
Document Number
Rev
Effective
LÄNKAR
SharePoint Batch Link
IPT App
MES Login
CSV Uploader
BMRAM
Agile
Note on A1: Generell spårbarhetsinfo samt Minitab-makro om tillgängligt.
Note on A7: Kort summering av vald .csv-fil.
Note on B14: Visar alltid Bag Number och summerar antal tester på Infinity.
Note on A16: Extreherar information från respektive fil och reagerar på avvikande innehåll.
Note on A33: Direktlänkar till funnet "Batch Number" i SharePoint (om valt) samt diverse IPT-relaterade verktyg.

## Dashboard
Click Less – Golden Standard Report (Template)
Run metadata
Assay
Assay Version
Reagent Lot(s)
Date range (Start Time)
# Instruments
# Modules
Input: Tests Summary
Input: Seal Test NEG
Input: Seal Test POS
Input: Worksheet
RuleBank Version
Engine Version
Triage counts | Bucket counts
FAIL | Major Functional Error
WARN | Minor Functional Error
INFO | Instrument Error
OK | Replacements
Sample ID or Test Type Deviation
Observation
Duplicates

## Run Findings
Run-level findings (file-level)
Severity | Bucket | RuleId | Title | Count | Evidence | SuggestedAction

## Information2
Triage view (row-level). Klicka på Row# för att hoppa till Raw.
Severity | Bucket | RuleId | Reason | SuggestedAction | Sample ID | Cartridge S/N | Test Type | Status | Test Result | ErrorCode | Error | Max Pressure (PSI) | Instrument S/N | Module S/N | Start Time | Row#

## Raw
Raw data (Tests Summary) + derived fields + tags
Assay | Assay Version | Sample ID | Cartridge S/N | Reagent Lot ID | Test Type | Instrument S/N | Module S/N | S/W Version | Start Time | Status | Test Result | Max Pressure (PSI) | Error | Prefix | Bag | ControlIndex | SampleNo2 | BagSampleRaw | ReplacementLevel | HasDelamination | SealID | SPC_Ct | ErrorCode | Tags | WorstBucket | Severity | _SourceExcelRow

## Seal Test Info
Seal Test Information
| Neg | Pos
ROBAL
Part Number
Batch Number
Cartridge Number (LSP)
PO Number
Assay Family |  |  | Utrustningsfilen
Weight Loss Spec
Balance ID Number |  |  | SCLSYS01, 003070 | SCLSYS03, SCLSYS04
Balance Cal Due Date |  |  | Apr-26 | Apr-26
Vacuum Oven ID Number |  |  | 003478, 003298 | 003346, 003587
Vacuum Oven Cal Due Date |  |  | Jun-26 | Jun-26
Timer ID Number |  |  | Nr. 18, Nr. 19 | Nr. 20, Nr. 21
Timer Cal Due Date |  |  | Mar-26 | Mar-26
Name of Tester
Print Full Name, Sign, and Date
| Neg | Pos

## STF Sum
| Datasheet | Cartridge ID | Initial Weight (mg) | Final Weight (mg) | Weight Loss (mg) | Weight Loss Pass/Fail | Observation
NEG
NEG
NEG
NEG
POS
POS
POS
POS
POS

## Utrustningslista
Utrustningsfilen
NEG | [7 empty] | Pos
INSTRUMENT | [7 empty] | INSTRUMENT
GeneXpert / Infinity | GX5 | GX6 | Infinity-VI | Infinity-VIII |  |  |  | GeneXpert / Infinity | GX1 | GX2 | GX3 | GX7 | Infinity-I | Infinity-III | Infinity-V
Calibration Due Date | 2026-04-25 | 2026-04-25 | 2026-05-25 | 2025-01-26 |  |  |  | Calibration Due Date | Mar-26 | Mar-26 | Mar-26 | Mar-26 | Jun-26 | Apr-26 | 2026-01-01
PIPETTER | [7 empty] | PIPETTER
Pipette Information | Nr. 6 | Nr. 7 | Nr. 23 | Nr. 32 | Nr. 33 | Nr. 35 | Nr. 36 | Pipette Information | Nr. 3 | Nr. 4 | Nr. 13 | Nr. 17 | Nr. 18 | Nr. 19 | Nr. 20
Calibration Due Date | 2026-02-25 | 2026-02-25 | 2026-03-25 | 2026-01-01 | 2026-01-01 | 2026-02-25 | 2026-02-25 | Calibration Due Date | 2026-01-01 | 2025-12-25 | 2026-03-25 | 2026-01-25 | 2026-03-25 | 2026-03-25 | 2026-03-25
[8 empty] | Pipette Information | Nr. 21 | Nr. 22 | Nr. 24 | Nr. 25 | Nr. 26 | Nr. 34 | Nr. 37
[8 empty] | Calibration Due Date | 2026-03-25 | 2026-01-25 | 2026-03-25 | 2026-03-25 | 2026-03-25 | 2026-02-01 | Sep-25
Uppdaterad: 2025 12 08 / JESP